## Slide 1
Files Available
3D CAD [ .step ]
2D CAD [ .dxf ]
Drawings [ .pdf ]
4x Shadow Masks
Mask Aligner
Wafer Model
Academic Paper [ .pdf ]
./Academic Paper/Amorph…
./DXF/Name.dxf
./Models/Masks/Name.step
./Models/Masks Aligner/Mask Aligner.step
./Models/Wafer Model/Wafer Model.step
./DXF/Name.dxf

## Slide 2
Designs used for Amorphous Selenium shadow masks in experimental work for VUV photodectectors

## Slide 3
Mask and Holder
Mask
Silica Wafer
Mask Holder

## Slide 4
Base Conductor Mask
Test Material
Base Conductor Mask
Test Material Mask

## Slide 5
Top Conductor 1
Top Conductor 1 Mask
Top Conductor 2 Mask
Top Conductor 2

## Slide 6
Mounting the Copper Temperature Block
Hole Dimensions and Locations of Stainless-Steel Block

## Slide 7
Mounting Samples onto the PCB Card
E
D
C
A
A – Vented Socket Head Screw B – Top Probe Card C – 2 Inch Substrate
D – Bottom Probe Card
E – Mil. Spec. 18-8 SS Hex Nut
B

## Slide 8
Mounting the Copper Temperature Block
B
C
A
A – Temperature Node B – Vented Socket Head Screw C – PCB Card

## Slide 9
Copper Temperature Node
Drawings are included for reproducibility of the system

## Slide 10
Boundary Analysis of Temperature for Copper Node
It is expected that after ~ 100 seconds under, liquid Nitrogen flow, that the Copper Node will converge onto 77 K

## Slide 11
Cold Finger Full
Experiment Demo
Demo Model

## Slide 12
PCB Card
The Gerber Files generated are for the test of a vertical device, BUT the KiCAD Files contained have been made to accommodate modifications for new devices

## Slide 13
KiCAD Layer View

## Slide 14
PCB Card Render

## Slide 15
Sample Mount Render